Mycoplasma testing Report:

Brief:
We tested anomalously numbered cell suspensions for mycoplasma infection. Supernatant was taken from the cell culture and PCR-amplified for a 300bp mycoplasma marker. Several positives were detected among the samples. Researchers are advised to cross-validate the results and to discard the infected samples.

Results:
Most PCR reactions are successful (with a 500bp control band present). Some reactions failed (no 500bp control band present), see table 1.

New Gel Tank-Top
	1	2	3	4	5	6	7	8	9	10	11	12	13	14	15	16
Sample	M	11	11	12	12	13	13	14	14	15	15	16	16	17	17	/
Initials		WZ	MM	AA	JC	AA	JC	AA	JC	ZC	SAO	ZC	SAO	ZC	SAO

Bottom	1	2	3	4	5	6	7	8	9	10	11	12	13	14	15	16
Sample	M	18	18	19	19	20	20	21	21	22	22	/	/	/	/	/
Initials		RH	HM	RH	HM	RH	HM	MB	FG	MB	FG

Old Gel Tank
Top	1	2	3	4	5	6	7	8	9	10	11	12	13	14	15
Sample	M	(-)	(-)	(+)	(+)	1	2	2	3	3	4	4	5	5	/
Initials		MB	WZ	MM	FG	SA	HD	SA	HD	SA	CLi	DH	DH	Cli

Bottom	1	2	3	4	5	6	7	8	9	10	11	12
Sample	M	6	6	7	7	8	8	9	9	10	10	/
Initials		DH	Cli	RL	SM	SM	RL	RL	SM	MM	WZ

Method:
1. Sample cell culture is sub-cultured and grown to 100% confluency.
2. Supernatant(~3mL) is taken from the sub cell-culture, anomalously numbered and stored at -80ºC.
3. On the day of test, supernatant is thawed by hand cleaned with beads.
4. PCR reaction mixtures are made according to the table.
5. Cleaned supernatant was added into prepared PCR mixture.
6. PCR