Mycoplasma testing Report:

Brief:
We tested anomalously numbered cell suspensions for mycoplasma infection. Supernatant was taken from the cell culture and PCR-amplified for a 300bp mycoplasma marker. Several positives were detected among the samples. Researchers are advised to cross-validate the results and to discard the infected samples.

Results:
Most PCR reactions are successful (with a 500bp control band present). Some reactions failed (no 500bp control band present). Negative controls show there is no mycoplasma in PCR master mix. Positive control show this PCR is capable to detect mycoplasma marker. Thus the test results are of high confidence.(table 1 and figures 1-4)

Table 1 : Test Results
Old Gel Tank
Top	1	2	3	4	5	6	7	8	9	10	11	12	13	14	15
Sample	M	(-)	(-)	(+)	(+)	1	2	2	3	3	4	4	5	5	/
Results		-	-	/	+	/	?	/	?	/	/	?	+	/

Bottom	1	2	3	4	5	6	7	8	9	10	11	12
Sample	M	6	6	7	7	8	8	9	9	10	10	/
Results		+	/	+	/	/	-	-	/	/	-
Gel 2a
	1	2	3	4	5	6	7	8	9	10	11	12	13	14	15	16
Sample	M	11	11	12	12	13	13	14	14	15	15	16	16	17	17	n/a
Results*		-	/	-	-	?	?	?	-	?	-	+	+	-	-
Gel2b
	1	2	3	4	5	6	7	8	9	10	11	12	13	14	15	16
Sample	M	18	18	19	19	20	20	21	21	22	22	/	/	/	/	/
Results		-	/	?	-	-	-	-	-	-	?

* Results notation, ‘+’: The sample is tested positive for Mycoplasma infection. ‘-’: the sample is tested negative for Mycoplasma infection. ‘/’:The sample was not amplified successfully. ‘?’: The sample was amplified, but the result was ambiguous.
Sample notation: (-):negative control, i.e. ddH2O (+):positive control, i.e. PBS solution.

MOS

Method:
1. Sample cell culture is sub-cultured and grown to 100% confluency.
2. Supernatant(~3mL) is taken from the sub cell-culture, anomalously numbered and stored at -80ºC.
3. On the day of test, supernatant is thawed by hand cleaned with beads.
4. PCR reaction mixtures are made according to the table.
5. Cleaned supernatant was added into prepared PCR mixture.
6. PCR